## Table 1
Generator Replacement List
Facility | Existing | ATS Size | Notes:
FC442 | 750KW | GENSET ONLY | Install new generator to match existing.
FC443 | 750KW | GENSET ONLY | Install new generator to match existing.
FC445 | 900KW | GENSET ONLY | Install new generator to match existing.
H1 | Kohler 400kW |  | Install new generator to match existing; Existing generator to be turned over government.
H1‐4 |  | 1600A NEMA 4X | Install new ATS to match existing (Note: location under AC Room)
M455‐1 | Onan 1250kW | FUEL TANK ONLY | Remove existing fuel tank and provide new to match.
AS518 | Onan 60kW | 100A NEMA 4X | Install new generator and ATS to match existing.
SAS888 | Onan 60kW | 100A NEMA 4X | Install new generator and ATS to match existing.
SAS3503 (fed by generator from SAS3542) | Kohler 26kW | 100A NEMA 4X | Install new generator and ATS to match existing.
AS4147 | Kohler 10kW | 30A NEMA 4X | Install new generator and ATS to match existing.
AS4192 | Kohler 81kW | 200A NEMA 1 | Install new ATS to match existing.
G770 | Olympian 20kW | 60A NEMA 4X | Install new generator and ATS to match existing.
411 |  | 1600A NEMA 4X | Install new ATS to match existing. Existing ATS is Cummins Power - Model # OTPCF-5696459
TT99 | Kohler 350kW | 1000A NEMA 1 | Install new ATS to match existing.
M107 | Kohler 10kW | 100A NEMA 4X | Install new generator and ATS to match existing.
TT39 | Kohler 265kW | 600A NEMA 4X | Install new generator and ATS to match existing.
AS3625‐1 | Onan 50kW | 100A NEMA 4X | Install new generator and ATS to match existing.
SAS3526 | Olympian 30kW | 100A NEMA 4X | Install new generator and ATS to match existing.
AS426 | Olympian 20kW | 60A NEMA 1 | Install new generator and ATS to match existing.
AS4041 | Kohler 15kW | 60A NEMA 4X | Install new generator and ATS to match existing.
AS4145 | Kohler 10kW | 60A NEMA 4X | Install new generator and ATS to match existing.
1023 | Onan 150KW | 400A NEMA 4X | Install new ATS to match existing.
BA145 | Generac 60kW | 100A NEMA 4X | Install new generator and ATS to match existing.
BA164 | Kohler 26kW | 100A NEMA 4X | Install new generator and ATS to match existing.
BA129 | Kohler 60kW | 100A BUCKET IN GE | Install new generator and ATS to match existing.
SBB225 | Olympian 20kW | 100A NEMA 4X | Install new generator and ATS to match existing.
STT30 | Generac 50kW | 100A NEMA 4X | Install new generator and ATS to match existing.
STT48 | Generac 30kW | 100A NEMA 4X | Install new generator and ATS to match existing.