## Slide 1: Hurricane Florence Recovery USMC Base Camp Lejeune, NC GCC MAC N62470-13-D-6020 Task Order N4008519F4464 Project 19-0022 Contract #19-0079 Title: Repair Medium Voltage Electrical Distribution System At Various Locations

## Slide 2
-Building: 89
-Transformer KVA: 500
-Location: F8
-Notes: MTR# 300689447

## Slide 3
-Building: 219
-Transformer KVA:
-Location:
-Notes: MTR#

## Slide 4
-Building: 342
-Transformer KVA: 112.5
-Location: G7
-Notes: MTR# N/A

## Slide 5
-Building: 416
-Transformer KVA: 150
-Location: G7
-Notes: MTR# 303715371

## Slide 6
-Building: 425
-Transformer KVA: 500
-Location: G8
-Notes: MTR# 300689410

## Slide 7
-Building: 438
-Transformer KVA:
-Location:
-Notes: MTR#

## Slide 8
-Building: 510
-Transformer KVA: 500
-Location: G8
-Notes: MTR# 300689303

## Slide 9
-Building: 514
-Transformer KVA: 300
-Location: G8
-Notes: MTR# 300689219

## Slide 10
-Building: 519
-Transformer KVA: 300
-Location: G8
-Notes: MTR# 300689366

## Slide 11
-Building: 523
-Transformer KVA: 300
-Location: G8
-Notes: MTR# 300389387

## Slide 12
-Building: 527
-Transformer KVA: 300
-Location: G8
-Notes: MTR# 300689285

## Slide 13
-Building: 575
-Transformer KVA: 500
-Location: G8
-Notes: MTR# 300689308

## Slide 14
-Building: 895-1
-Transformer KVA: 225
-Location: F8
-Notes: MTR# 30068923

## Slide 15
-Building: 1057
-Transformer KVA: 225
-Location: F8
-Notes: MTR# 303715362

## Slide 16
-Building: FC100
-Transformer KVA: 300
-Location: G9
-Notes: MTR# 303715250

## Slide 17
-Building: FC120
-Transformer KVA: 225
-Location: G9
-Notes: MTR# 303715428

## Slide 18
-Building: FC190
-Transformer KVA: 225
-Location: G9
-Notes: MTR# Unknown

## Slide 19
-Building: FC200
-Transformer KVA: 225
-Location: G9
-Notes: MTR# 300689403

## Slide 20
-Building: FC241
-Transformer KVA: 112.5
-Location: G9
-Notes: MTR# 303715377

## Slide 21
-Building: FC253
-Transformer KVA: 225
-Location: G9
-Notes: MTR# Unknown

## Slide 22
-Building: FC270
-Transformer KVA: 300
-Location: G9
-Notes: MTR# 300689287

## Slide 23
-Building: H17
-Transformer KVA: 500
-Location: F6
-Notes: MTR# 300689332

## Slide 24
-Building: HP51
-Transformer KVA: 225
-Location: F7
-Notes: MTR# 300689173

## Slide 25
-Building: HP53
-Transformer KVA: 225
-Location: F7
-Notes: MTR# 300689184

## Slide 26
-Building: HP100
-Transformer KVA: 225
-Location: F7
-Notes: MTR# 300689389

## Slide 27
-Building: HP104
-Transformer KVA: 300
-Location: F7
-Notes: MTR# 300689329

## Slide 28
-Building: HP127
-Transformer KVA: 300
-Location: F7
-Notes: MTR# 303715400

## Slide 29
-Building: HP225
-Transformer KVA: 150
-Location: F7
-Notes: MTR# 300689353

## Slide 30
-Building: HP237
-Transformer KVA: 500
-Location: F7
-Notes: MTR# 300689350

## Slide 31
-Building: HP250
-Transformer KVA: 500
-Location: F7
-Notes: MTR# 300689445

## Slide 32
-Building: 275
-Transformer KVA: 150
-Location: F7
-Notes: MTR# 300689449

## Slide 33
-Building: HP285
-Transformer KVA: 150
-Location: F7
-Notes: MTR# 300689384

## Slide 34
-Building: HP305
-Transformer KVA: 750
-Location: F7
-Notes: MTR# 303715385

## Slide 35
-Building: HP476
-Transformer KVA: 500
-Location: G7
-Notes: MTR# 303715266

## Slide 36
-Building: HP512
-Transformer KVA: 300
-Location: G8
-Notes: MTR# 300689160

## Slide 37
-Building: HP550
-Transformer KVA: 300
-Location: G8
-Notes: MTR# 300689316

## Slide 38
-Building: HP560
-Transformer KVA: 300
-Location: G8
-Notes: MTR# 300689317

## Slide 39
-Building: AS205
-Transformer KVA: 225
-Location: C2
-Notes: MTR# Unknown

## Slide 40
-Building: AS4035
-Transformer KVA: 500
-Location: C2
-Notes: MTR# 300689198

## Slide 41
-Building: AS4038
-Transformer KVA: 500
-Location: C2
-Notes: MTR# 300689180

## Slide 42
-Building: AS4040
-Transformer KVA: 500
-Location: C2
-Notes: MTR# 300689224

## Slide 43
-Building: AS4120
-Transformer KVA: 150
-Location: C2
-Notes: MTR# 300689208

## Slide 44
-Building: AS4122
-Transformer KVA:150
-Location: C2
-Notes: MTR# 303715364

## Slide 45
-Building: AS4141
-Transformer KVA: 750
-Location: C2
-Notes: MTR# 303715129

## Slide 46
-Building: AS4200
-Transformer KVA: 750
-Location: C2
-Notes: MTR# 300689121

## Slide 47
-Building: BB118
-Transformer KVA: 300
-Location: M7
-Notes: MTR# 303715216

## Slide 48
-Building: FC134
-Transformer KVA: 112.5
-Location: G9
-Notes: MTR# 303715335

## Slide 49
-Building: FC280
-Transformer KVA: 750
-Location: G9
-Notes: MTR# N/A - 300715243

## Slide 50
-Building: FC285
-Transformer KVA: 750
-Location: G9
-Notes: MTR# 300689274

## Slide 51
-Building: FC330
-Transformer KVA: 500
-Location: G9
-Notes: MTR# 300689240

## Slide 52
-Building: FC500
-Transformer KVA: 300
-Location: G8
-Notes: MTR# 300316894

## Slide 53
-Building: FC515
-Transformer KVA: 300
-Location: G8
-Notes: MTR# 300689133

## Slide 54
-Building: FC555
-Transformer KVA: 300
-Location: G8
-Notes: MTR# 300689142

## Slide 55
-Building: FC565
-Transformer KVA: 300
-Location: G8
-Notes: MTR# 300689152

## Slide 56
-Building: G526
-Transformer KVA: 225
-Location: B2
-Notes: MTR# 300689144

## Slide 57: More than 25 Years of Vision, Integrity, Results
Agenda
Project Overview
ECC Staff
Health & Safety
Quality Control
Reporting
General
Questions

## Slide 58: QUESTIONS