## Slide 1: Hurricane Florence Recovery USMC Base Camp Lejeune, NC 19-0079 Generator Site Photo’s

## Slide 2
-Building: 1023
-Generator Type: Unknown
-Location: F8
Notes Install new ATS to match existing

## Slide 3
-Building: AS426
-Generator Type: Olympian 20kW
-Location: C3
Notes Install new generator and ATS to match existing

## Slide 4
-Building: AS-518
-Generator Type: Onan 60kW
-Location: C2
Notes Install new generators and ATS to match existing

## Slide 5
-Building: AS888-01G
-Generator Type: Onan 60kW
-Location:C3 (located on Runway)
Notes Install new generator to match existing

## Slide 6
-Building: AS-3625-1
-Generator Type: Onan 50kW
-Location: D2
Notes Install new generator and ATS to matching existing

## Slide 7
-Building: AS4041
-Generator Type: Kohler 15kW
-Location: C2
Notes Install new generator and ATS to match existing

## Slide 8
-Building: AS-4145
-Generator Type: Kohler 10kW
-Location: C2
Notes Install new generator and ATS to match existing

## Slide 9
-Building: AS4147A
-Generator Type: Kohler 10kW
-Location: C2
Notes Install new generator and ATS to match existing

## Slide 10
-Building: AS-4192
-Generator Type: Kohler 81kW
-Location: C2
Notes Install new ATS to match existing

## Slide 11
-Building: BA-145
-Generator Type: Generac 60kW
-Location: N11
Notes Install new generator and ATS to match existing

## Slide 12
-Building: BA-164
-Generator Type: Kohler 26kW
-Location: N12
Notes Install new generator and ATS to match existing

## Slide 13
-Building: FC 442
-Generator Type: 750kW
-Location: H9
Notes Install new generator to match existing

## Slide 14
-Building: FC443
-Generator Type: 750kW
-Location: H9
Notes Install new generator to match existing

## Slide 15
-Building: FC445
-Generator Type: 900kW
-Location: H8
Notes Install new generator to match existing

## Slide 16
-Building: G-770
-Generator Type: Olympian 20kW
-Location: A2
Notes Install new generator and ATS to match existing

## Slide 17
-Building: M 107
-Generator Type: Kohler 10kW
-Location: B4
Notes Install new generator and ATS to match existing

## Slide 18
-Building: M455-1
-Generator Type: Onan 1250kW
-Location: A4
Notes Remove existing fuel tank and provide new to match

## Slide 19
-Building: AS3503
-Generator Type: Kohler 26kW
-Location: D3
Notes Install new generator and ATS to match(fed by generator from SAS3542)

## Slide 20
-Building: SAS3526
-Generator Type: Olympian 30kW
-Location: D3
Notes Install new generator and ATS to match existing

## Slide 21
-Building: SBA-129
-Generator Type: Kohler 60kW
-Location: P11
Notes Install new generator and ATS to match existing (Generator is located on the Bridge)

## Slide 22
-Building: SBB225
-Generator Type: Olympian 20kW
-Location: N7
Notes Install new generator and ATS to match existing

## Slide 23
-Building: STT30
-Generator Type: Generac 50kW
-Location: A6
Notes Install new generator and ATS to match existing

## Slide 24
-Building: STT39 (TT39)
-Generator Type: Kohler 265kW
-Location: A6
Notes Install new generator and ATS to match existing

## Slide 25
-Building: 411
-Generator Type: Cummins 500kW
-Location: G7
Notes Install new ATS to match existing

## Slide 26
-Building: STT48
-Generator Type: Generac 30kW
-Location: A7
Notes Install new generator and ATS to match existing

## Slide 27
-Building: TT99
-Generator Type: Kohler
-Location: A6
Notes Install new ATS to match