Attachment No. 1

Scope of Work

North Waterfront Park

Wilmington, North Carolina

##### Bid Package 09A

General:			Complete Plans

Division 1 General Requirements– All Sections

Specification Section:	(Including but not limited to)

054000 Cold Formed Metal Framing

061053 Miscellaneous Rough Carpentry

061600 Sheathing

083113 Access Doors

092900 Gypsum Board

119900 Bullet Resistant Assemblies

All other specifications as applicable.

The Scope of Work for the above referenced Bid Package is defined herein by the Construction Manager.  In the event the plans or specifications carry notation indicating a particular trade Subcontractor is to provide a specific work item, and that notation of scope designating responsibility of a particular trade Subcontractor differs from this Attachment #1 Scope of Work, this Attachment shall take precedence.  Otherwise, the notation in the plans and specifications shall be deemed to be accurate.  This scope of work is intended to provide guidance as to the general responsibilities of the trade Subcontractor.  Specific conditions and requirements are expressed in the plans and specifications.  This scope outline is not intended to relieve the bidder of the requirements described within the documents. Language or notation regarding scope in the Attachment #1 Scope of Work for another Bid Package shall in no way alter the description or direction provided herein.

Scope of Work:

(Including but not limited to)

General:

- The Subcontractor understands this is a professional, commercial construction project. As such, hardhats, hard-soled footwear, safety glasses, safety vests, long pants, shirtsleeves and all other personal protection devices and safety equipment to safely perform the Subcontractor’s work are required at all times. All devices and equipment to be provided by the Subcontractor. The Subcontractor will mandate these requirements to all lower-tier subcontractors. If any of the Subcontractor’s personnel (including lower tier subcontractors) is found performing work unsafely they, and the Subcontractor’s field supervisor, may be removed from the project.

- The Subcontractor will have someone on site at all times that will serve as the “competent person”. This person will understand all aspects of the Subcontractor’s work, including all safety regulations governing their work. The competent person will be identified by the Subcontractor and will have on site access to all safety data sheets and appropriate safety plans. The Subcontractor will notify Constructor in all cases when their competent person will not be on site, and Subcontractor will identify another trained employee as their competent person.

- Bid bonds may be required.  For any Bid Packages requiring licensure, provide proof of current licensure prior to beginning any work whatsoever.  Failure to show proof of licensure is grounds for disqualification and nullification of the contract.

- For bids $300,000 or greater, a Payment and Performance Bond may be required as indicated in Instructions to Bidders. A Class “A” Surety with a North Carolina licensed agent must provide bonds.  Payment and Performance Bond if required must be submitted at time of contract execution on Clancy & Theys’ bond form included in the Bid Manual. Failure to provide required Payment and Performance Bond will be grounds for disqualification and nullification of the contract. Cost of Payment and Performance Bond shall be noted as an “Add” To the bid amount.

- Provide proof of insurance meeting the requirements indicated in Supplemental Conditions and Operation Requirements.  Failure to provide proof of adequate insurance will be grounds for disqualification and nullification of the contract.  Sample insurance certificate must be provided within 72 hours of scope review meeting.  Insurance certificate submitted with pre-qualification application may be used as sample if certificate meets or exceeds all insurance requirements.

- Include all sales, use, consumer, and other similar taxes. This information must be reported monthly to the Construction Manager with payment application on Subcontractor Sales Tax Report in Attachments.

- Provide a site specific safety plan within thirty (30) days of notice of award and prior to beginning work.  All SDS information for materials to be used in connection with your work shall be included as a part of this Safety Plan.

- Subcontractor’s field employees will be required to attend weekly safety meeting and Tool Box Talks, held by subcontractor.  Records of weekly toolbox meetings shall be submitted to Clancy & Theys.  Provide signed and dated copies of weekly safety meetings to the Clancy & Theys jobsite staff no later than 10:00 am each Friday morning.

- If Subcontractor employs lower-tier subcontractor(s) to perform work in their bid package, Subcontractor must provide adequate on-site representation to supervise the work of their lower-tier subcontractor(s) and to coordinate this work with the Construction Manager and/or other trades.

- All foremen must be first aid and safety trained.  Subcontractors shall submit records of certified training to the Clancy & Theys Superintendent.  For any Subcontractor employee operating equipment, Subcontractors shall submit records of certified training to the Clancy & Theys Superintendent.  Each day, Subcontractor shall designate a competent person according to OSHA CFR 1926.32(f) who shall be on site continuously while work is in progress.  That designated person shall sign in on a form provided by Clancy & Theys at the jobsite each morning prior to commencement of work.

- Subcontractor must provide drinking water, all safety equipment, and first aid kits for their own work forces on site per OSHA requirements.

- Subcontractor will be required to complete daily activity reports indicating progress and manpower on site. Reports will be turned in by 10:00 am the day following to contractor.

- Weekly job site meeting attendance will be required every week for Foremen, and once a month for Project Managers prior to mobilization and every week thereafter as long as Subcontractor is on site.  Second and third tier Subcontractors’ representatives may attend meetings but may not substitute for Subcontractor at weekly meetings.  Designated Project Managers for all Subcontractors are required to attend monthly project schedule update and pay application review meetings.

- Subcontractor must provide daily clean up resulting from Subcontractor’s work as described in Article 3.13 of the Subcontract Agreement.  In addition, each Subcontractor will provide 1 man for every 10 men he has on site for one full day each week to perform general cleanup at the direction of the Construction Manager, if required.  Subcontractor shall use cleaning methods and materials as outlined in Specification 017419.

- Subcontractor will be responsible for keeping roads clean from work associated with their own equipment and operations.

- Subcontractor will be required to provide traffic control for all work associated with their Bid Package and as needed for installation of their work and for delivery of their materials.

- Subcontractor’s on-site supervisor or person in charge must speak fluent English.

- Subcontractor will be responsible for distributing their own waste materials into the on-site waste containers provided by the Construction Manager.  The Construction Manager will be responsible for hauling these containers off site. Debris from clearing, concrete, masonry and site demolition must be hauled off site by those trades.

- Subcontractor shall coordinate work with all trades on site prior to and during their scheduled duration on site.  Re-work caused by failure of proper coordination as deemed by the Construction Manager will not be reimbursable.

- Subcontractor shall review the construction schedule included in the Bid Manual and bid as needed to meet schedule requirements. Subcontractor is cognizant of the aggressive project schedule and has factored all required material expediting requirements, overtime and manpower loading to complete the work within the Construction Manager’s schedule.  Subcontractors are to coordinate with Construction Manager for updating purposes.

- Liquidated damages ($2,000/$1,000) are laid out in the Bid Manual. If the Construction Manager is assessed liquidated damages for delay of project, the Construction Manager will assess a share of those liquidated damages against Subcontractors in proportion to the Subcontractor’s share of the responsibility for the delay.  The amount of the assessment shall not exceed the amount assessed against the Construction Manager.

- The construction schedule is based on calendar days (6 days per week, 52 weeks per year). Additionally, workdays in excess of eight (8) hours will be required as a normal course of performing the work. Working on Sunday, or holidays requires 72 hours prior approval by Construction Manager and Owner. It is agreed that the Subcontractor will make up any normal workday (Monday through Friday) time lost by working Saturday, Sunday, Holidays, and/or extra shifts as necessary to maintain the schedule at no additional cost to Construction Manager.

- Subcontractors agree to anticipate and plan for inclement weather based on a five year average per month for rainfall over 0.1” and temperatures below 32 degrees Fahrenheit.

- Subcontractor shall understand that in order to obtain substantial completion, all inspections, Construction Manager/Architect/Engineer/Owner punch lists, closeout documents, Owner Training & Commissioning, etc. must be complete.

- Provide and maintain any and all field engineering and layout needed to accomplish work associated with this Bid Package.  Subcontractor shall procure the services of a registered land Surveyor for complete staking and layout associated with his/her work including any re-staking and maintenance.  Subcontractor shall not rely on utilizing other trade’s staking/surveying. If Subcontractor chooses to use GPS, supplemental staking will be required as directed by the Construction Manager for verification. Anchor bolt layout and building coordinates will be provided by the 03A Foundations Subcontractor.

- Construction Manager will employ a professional surveying firm to develop a coordinates package for the Construction Manager’s use to verify and/or check layout performed by Subcontractors.

- Any Subcontractors working adjacent to finished construction must provide proper protection for their work.  If damage occurs due to Subcontractor’s work forces, repairs will be made at Subcontractor’s expense.

- Any Subcontractor working on roofs must provide proper roof protection for their work.  If roof damage occurs due to Subcontractor’s work forces, repairs will be made at Subcontractor’s expense.

- Subcontractor must visit site and make himself fully aware of existing site conditions.  Subcontractor must notify contractor of visits to site during the bidding period.

- Subcontractor will receive, unload and store all materials associated with the scope unless noted otherwise below.  Subcontractor will provide all hoisting required for his scope of work.

- Restrictions and procedures for all site visits prior to submitting a bid are identified in Instructions to Bidders.

- This site involves tree protection areas that will be strictly enforced.  All Subcontractors shall take extreme care not to disturb trees in the tree protection areas.  Any fines resulting from Subcontractor’s destruction of trees within the tree protection area will be assessed to that Subcontractor.

- Subcontractor will receive, unload and store all materials associated with the scope unless noted otherwise below.  Subcontractor will provide all hoisting required for their scope of work.

- Any trade creating penetrations through walls will be required to fireproof, patch or seal those penetrations upon completion of work.

- Subcontractor is hereby advised that site investigation reports have been provided by the Owner for review and information purposes. Subcontractor shall waive all rights to any claims against Construction Manager as a result of the information contained within the report versus field conditions.

- Due to sequencing requirements, multiple mobilizations may be required.  This may be in addition to project phasing as reflected within the construction schedule.

- Disregard all notes indicating “by G.C.” or “by others”. The scope of work is defined for each Bid Package and may include work indicated on the plans to be “by G.C.” or “by others”.

- Subcontractors agree to anticipate and plan for inclement weather. If abnormal adverse weather conditions are the basis for a Claim for additional time, such Claim shall be documented by data substantiating that weather conditions were abnormal for the period of time, could not have been reasonably anticipated and had an adverse effect on the scheduled construction by negatively impacting the critical path of construction.  Contractor agrees that its sole remedy for abnormal adverse weather conditions is an extension of the Contract Time, and that in no event shall Contractor be entitled to additional compensation or an adjustment in the Contract Sum on account of adverse weather conditions.

- For any Subcontractor with engineering and/or delegated design responsibility indicated in specifications associated with their scope of work, Subcontractor must ensure that submittals include signed and sealed shop drawings as provided by a licensed professional engineer registered in North Carolina.  This engineer must provide certificate of insurance for professional liability with limits as indicated in Article 9.2.3 of Contract.  (Consensus Docs 750).

- All Subcontractors will be given access to an electronic set of documents. Any printing cost will be the responsibility of the Subcontractor.

- Subcontractor is required to provide electronic copies of all approved submittals, as-built drawings, operation and maintenance manuals, warranties, etc. to Clancy & Theys Construction prior to substantial completion.  All copies must be received in electronic format prior to release of final retainage/payment.

- Any Subcontractor performing underground work or potentially exposing existing underground utilities must employ a qualified utility locator service to locate all existing underground utilities including, but not limited to, electrical, telephone, gas, cable, and fiber optic within the limits of construction.  Subcontractor must not use expired locates and will be required to acquire current locates as needed per NC811 regulations and the contract documents. Protect all public and private utilities encountered by your Bid Package work. (Note that NC One Call will not typically locate any privately owned utilities.)

- Subcontractor shall provide all required submittals within 2 weeks from issued Letter of Intent by Construction Manager unless otherwise noted under Specific Scope of Work below.  Subcontractor shall provide all submittal data in strict compliance with C&T Submittal Guidelines included with this Bid Manual and the project specification. Any submittals not in compliance will be rejected by Construction Manager and may be considered late.  Subcontractors will be held responsible for any delays to the construction schedule as a result of their late submittals.

- Subcontractor is bound by contract to the complete set of construction documents, including but not limited to, all specification sections, all drawings and all documents in the bid manual.

- Subcontractor shall use AIA Document G703 for the listing of the Schedule of Values.  This breakdown shall include a line item for submittals in the sum of 1% of the subcontract amount, a line item for as-builts and operations manuals in the sum of 1% of the subcontract amount, and a line item for punch list in the sum of 2% of the subcontract amount and a line item of 1% for ongoing cleanup.

- Subcontractors shall provide task lighting as needed to perform their work for quality and finish requirements.  Electrical Subcontractor shall provide temporary building lighting as indicated in the 16A Scope of Work, but is not responsible for task lighting for each trade subcontractor other than his own.

- Subcontractor recognizes that the word “provide” shall mean furnish and install.

Specific:

- Subcontract include providing all wood blocking in walls for all components attached to wall.  Blocking must be wood and fire treated if required by specification or code.  No strapping will be allowed.

- Subcontractor is responsible for reviewing all shop drawing for locations of blocking.

- Provide an alternate add to install abuse resistive gypsum board throughout the building in the line noted below.  This should not be included in base bid.

- Subcontractor shall install access doors, provided by others, in metal framed walls and ceilings.

- Subcontract shall include all fire caulking for fire rated walls, related to this scope of work.

- Subcontractor shall label fire walls as required by local jurisdiction.

- Subcontract includes all in wall insulation required by specifications.

- All wall substrates shall be reviewed with painter, for approval, prior to painter starting any work.  This shall occur before and after primer coats.  Also prior to final coat.  Any point up costs shall be borne by Subcontractor.

- Subcontractor shall provide NC engineer stamped drawings and calculations for all 054000 scope.

- Subcontractor is responsible to review Dept of Labor requirements for the elevator shaft and stay current with code changes.  No change orders will be issued for inspection failures.  This includes any caulking or finishing required.

- Subcontractor shall receive sign off on any penetrations through exterior walls with the applicable Subcontractor prior to sheathing.

- Subcontractor shall coordinate with vapor barrier Subcontractor to ensure the sheathing/tape/caulk is compatible with the vapor barrier.

Provide the following schedule of values breakout on the bid form, as noted:

Price #1- Light Gauge Metal Framing

Price #2- Metal Studs

Price #3- Drywall

Price #4- Sheathing

Price #5- Blocking

Price #6- Access Doors

Price #7- Bullet Resistive Materials

Price #8- Add Alternate- Abuse Resistive Gypsum All Interior Walls